SECTION 271116 - COMMUNICATIONS CABINETS, RACKS, FRAMES, AND ENCLOSURES

PART 1 - GENERAL

1.1	RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2	SUMMARY

Section Includes:

1.	SR Wall-Mount Rack

1.3	DEFINITIONS

A.	BICSI: Building Industry Consulting Service International

B.	EIA:  Electronic Industries Alliance.

C.	TIA: Telecommunications Industry Association.

D.	ANSI: American National Standard Institute.

E.	LAN: Local area network.

F.	RCDD: Registered Communications Distribution Designer.

1.4	REFERENCES

A.	ANSI/TIA-569-D Telecommunications Pathways and Spaces, 2015

B.	ANSI/TIA-568-D.0 Generic Telecommunications Cabling for Customer Premises, 2015

C.	ANSI/TIA – 568-D.1 Commercial Building Telecommunications Cabling Standard, 2015.

D.	ANSI/NECA/BICSI 568-2006 – Standard for Installing Commercial Building Telecommunications Cabling.

E.	ANSI/TIA-942-A Telecommunications Infrastructure Standard for Data Centers, 2014.

F.	ANSI/TIA – 606-B Administration Standard for Telecommunications Infrastructure, 2012.

G.	ANSI/TIA – 607-C Generic Telecommunications Bonding and Grounding (Earthing) For Customer Premises, 2015.

H.	ANSI/NFPA 70 – National Electric Code, 2008, 2014.

1.5	ACTION SUBMITTALS

A.	Product Data: For each type of product.

1.	Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for equipment racks and cabinets.

2.	Include rated capacities, operating characteristics, electrical characteristics, and furnished specialties and accessories.

B.	Shop Drawings: For communications equipment room fittings.

1.	Include plans, elevations, sections, details, and attachments to other work.

2.	Detail equipment assemblies and indicate dimensions, weights, loads, required clearances, method of field assembly, components, and location and size of each field connection.

3.	Equipment Racks and Cabinets: Include workspace requirements and access for cable connections.

4.	Grounding: Indicate location of bonding bus bar and its mounting detail showing standoff insulators and wall mounting brackets.

1.6	INFORMATIONAL SUBMITTALS

A.	Qualification Data: For [Installer] qualified layout technician, installation supervisor, and field inspector.

B.	Seismic Qualification Certificates: For equipment frames from manufacturer.

C.	Basis for Certification: Indicate whether withstand certification is based on actual test of assembled components or on calculation.

1.	Dimensioned Outline Drawings of Equipment Unit: Identify center of gravity and locate and describe mounting and anchorage provisions. Base certification on the maximum number of components capable of being mounted in each rack type. Identify components on which certification is based.

2.	Detailed description of equipment anchorage devices on which the certification is based and their installation requirements.

1.7	QUALITY ASSURANCE

A.	Installer Qualifications: Cabling Installer must have personnel certified by BICSI on staff.

B.	Layout Responsibility: Preparation of Shop Drawings shall be under the direct supervision of [RCDD] [RCDD/NTS] [Commercial Installer, Level 2].

1.	Installation Supervision: Installation shall be under the direct supervision of [Registered Technician] [Level 2 Installer], who shall be present at all times when Work of this Section is performed at Project site.

2.	Field Inspector: Currently registered by BICSI as [RCDD] [Commercial Installer, Level 2] to perform the on-site inspection.

PART 2 - PRODUCTS

2.1	WALL-MOUNT RACKS

A. Basis-of-Design Product: Subject to compliance with requirements, provide Great Lakes (GL); SR Wall-Mount Rack.

Description:  Wall-mount cabinets manufactured from steel sheet. Non-seismic applications - Maximum equipment weight of 50lb (22kg) when secured to the structural wall with standard anchors. Non-seismic load is tested per UL 2416 and the cabinet is UL Listed NWIN.E227626.

1.	Color: Black textured powder coated steel

2. 	Size: 24 Inches, 12RMU

3.	UL Listed: 50lb (22kg) Capacity

4.	Construction Material: Body 16GA CRS, Rails 14GA CRS

7.	Body: 18 inches (457 mm) deep rear section with 16 inches C-to-C holes for mounting to the wall. Cable tie points are available on top, bottom, and sides.

9. 	Rail Mount Section:  One pair of #12-24 threaded rails tapped front and rear; spaced horizontally to support 19 inches (482.6 mm) wide EIA-310-E compliant rack-mount equipment and shall provide 12RMU of rack-mount space.

11.	Mounting: Reversible mounting for left or right swing opening.

12.	Usable Depth: 16 inches (406mm)

PART 3 - EXECUTION

3.1	INSTALLATION OF WALL MOUNT RACKS

Attach the rack to the wall so that the front section and rack body can be opened fully without obstruction by other building, storage or architectural components. Follow the manufacturer's installation instructions (Great Lakes MS-5.02-12) when securing the rack to the wall and backboard.

Attach the rack directly into studs through a 3/4 inch (19 mm) plywood backboard.

The rack may be attached to a masonry wall when the installer provides hardware.

Use included hardware or the appropriate hardware as defined by local code or the authority having jurisdiction.

END OF SECTION 271100